## Library preparation
DNA normalization
Comment: | This appendix is for multiplexing 48 samples using Nextera XT. However, it can be adjusted to the examined number of samples either by deleting rows or by copying and inserting additional rows. The formulae in Q9 and R9 also need to be adjusted to cover all samples.
NOTE: | Everything in Bold letters needs an input See bottom of table for further comments
Sample | Starting DNA | DNA normalization to 0.2 ng/µl | [8 empty] | Manual normalization of libraries after PCR clean up in Nextera XT protocol to optimise cluster density |  |  |  |  | Dilution of Pooled Amplified Library (PAL) to 4 nM | [8 empty] | Preparation to start the MiSeq run
|  | Dilution A |  |  | Dilution B |  |  |  | Optional adjustments (if DNA concentration >0.22ng/µl post 2nd dilution) | [11 empty] | Dilution of PAL to 4 nM (final volume of 50 µl) |  |  |  | Denature library |  |  |  |  | Dilute Denatured Amplified Library (DAL)
SampleID | Qubit measurement DNA extraction (ng/µl) | Diluent (µl) | Volume of sample to achieve 3 ng/µl | Qubit measurement, dilution A (ng/µl) | Diluent (µl) | Volume of sample to achieve 0.2 ng/µl | Qubit measurement, dilution B (ng/µl) | For formula | Volume of diluent to add (µl) | Qubit measurement of adjusted samples (ng/µl) | Qubit measurement of library after PCR clean up (ng/µl) | Average fragment length (bp) | ng/ul -> nM | Volume of library to pool (µl) | Multiplication factor | Estimated pool concentration (nM) | Pool volume (µl) | Qubit measurement of PAL (ng/µl) | Average fragment length of PAL (bp) | PAL concentration (nM) | Volume of PAL (µl) | Volume of diluent (µl) | Qubit measurement of diluted PAL (ng/µl) | Diluted PAL concentration (nM) | Volume of diluted PAL (µl) | Volume of 0.2 N NaOH (µl) | Denatured Amplified Library (DAL) concentration (nM) | Volume of HT1 buffer to stop denaturation (µl) | DAL concentration (pM) | Desired DAL koncentration (pM) | Volume of DAL (µl) | Volume of HT1 buffer (µl)
Sample1 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | 5 | 5 | #DIV/0! | 990 | #DIV/0! |  | #DIV/0! | #DIV/0!
Sample2 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample3 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample4 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample5 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample6 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample7 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample8 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample9 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample10 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample11 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample12 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample13 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample14 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample15 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample16 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample17 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample18 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample19 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample20 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample21 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample22 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample23 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample24 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample25 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample26 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample27 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample28 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample29 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample30 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample31 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample32 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample33 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample34 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample35 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample36 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample37 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample38 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample39 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample40 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample41 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample42 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample43 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample44 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample45 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample46 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample47 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Sample48 |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | 0 | -100 |  |  |  | #DIV/0! | #DIV/0! | 20
Comments: | If initial DNA concentration is already below 3 ng/µl, add that value in the "Qubit measurement, dilution A (ng/µl)" column. | Normally, TRIS pH 7.8 without any type of detergent is recommended. |  |  |  |  | This should be 0.2 ± 0.02 ng/µl |  | Optional: If you get >0.22 ng/µl, you can add this volume of diluent to your sample to adjust it down to 0.2 ng/µl. Dilutions below 0.18 ng/µl should be redone. |  |  | Average fragment length is determined using High sensitivity D5000 on Tapestation (Agilent) or High sensitivity kit on Bioanalyzer (Agilent). |  | This volume of each library should be pooled to achieve normalization in your run. |  |  |  | Qubit measurements on the PAL should be an average of three replicates. |  |  |  |  | Qubit measurements on the diluted PAL should be an average of three replicates. |  | Important that the 0.2 N NaOH is freshly made from a 1.0 N NaOH stock. Incubate in room temperature in 5 min before adding 990 µl of cold HT buffert. |  |  |  | Keep on ice! | This concentration (pM) is directly correlated to the cluster density where e.g 12 pM gives 1200 k/mm2. | Add the total volume of diluted DAL (600 µl) to the MiSeq cartridge, according to instructions